Edit by Naima   2 June. 2021

Question

What is the RH offset function for on 8919(1)?

Reply:

AZ8919(1) comes with RH% sensor, which is very sensitive to the environment, so the RH% value is usually drifting after a period of time base on the working / storage environment.

It needs stable 33%RH & 75%RH chamber to proceed RH% calibration, therefore, for user who don’t have calibration chamber, if user think the RH% value is drifting, a quick solution is to use RH offset function to compensate, the available setting range is from -12 to +12 RH%.

Means user can use another high accuracy hygrometer to compare the RH value with FA430, and then, user can add or minus certain value base on the compared result to do the compensation.